## NLC
Product & Services requireb by NLC
# | Category | Description/ Specification
1 | Product | BATTERY BANK 1605AH
2 | Product | FURNACE OIL CONFORMING TO IS: 1593/1982
3 | Product | STEEL CORD CONVEYOR BELT 2000MM WIDE ST 3150
4 | Product | Retrofitting of 420kV Pantograph Isolator.
5 | Product | HIGH SPEED DIESEL OIL
6 | Product | STEEL CORD CONVEYOR BELTING 2400MM WIDE
7 | Product | MS SPIRL WELD PIPE 610mm ODx11.5mm T WITH PAINTING ON BOTH SIDE
8 | Product | Generator Rotor for 125 MW Generator
9 | Product | Fixed Contact Assembly for S and S make 245 kV Isolators
10 | Product | SITE MIXED EXPLOSIVE HIGH STRENGTH.
11 | Product | 420 kV SF6 gas filled Current transformer
12 | Product | LIGHT DIESEL OIL AS PER IS:15770:2008
13 | Product | 300 MVA, 16.5/400 KV, 3 Phase Generator Transformer.
14 | Product | Generator Transformer, 3 Phase 50Hz 150 MVA 10.5/230kV for BTPS
15 | Product | 2TR HIGH - WALL MOUNTED SPLIT AC UNITS
16 | Product | Moving Blade Assembly of 245kV S and S make Double break Isolator
17 | Product | 250 MVA, 15.75/400 KV, 3 Phase Generator Transformer
18 | Product | HIGH STRENGTH 125MM
19 | Product | NEW CUMMINS MAKE NTA855C /BEML BS6D140 ENGINE ASSY FOR DUMPERS.
20 | Product | Battery Bank 860 AH, 220 VDC
21 | Product | EP2 GREASE (LITHIUM BASE)IS:7623/1993
22 | Product | HP bladed ring complete assembly
23 | Product | Steam and Water Analysis System SWAS as per spec.
24 | Product | 1600mm conveyor Standard Frames
25 | Product | 1600 MM CONVEYOR STEEL CORD BELT , ST 16
26 | Product | SIDE TROUGHING IDLER OF SIZE:193.7 DIA X
27 | Product | RETURN IDLER OF 159MMDIA X 1100MM LONG
28 | Product | OUTDOOR WEATHER SPLASH AND VERMIN PROOF METAL CLAD 4 UNIT
29 | Product | STEEL CORD CONVEYOR BELT 1800MM ST 2250
30 | Product | IP blade ring no -1 complete
31 | Product | NEW CUMMINSNTA855C/BEML BS6D140 ENGINE ASSY FOR WATER SPRINKLERS.
32 | Product | Under Carriage set for RPL 90T Pipelayer
33 | Product | BOILER FEED PUMP SPARE CARTRIDGE FK4E36
34 | Product | ISO VG 460 OR EQUIVALENT OIL AS PER IS :8406/1993
35 | Product | MS BALL RACE ASSEMBLY AS PER DRG.NO.SME 04/12 FOR 700L BWE
36 | Product | SIDE TROUGHING IDLER OF SIZE 159MM DIA X
37 | Product | Electronic Drum Level Measurement System
38 | Product | CENTRE TROUGHING IDLER OF SIZE 193.7MM D
39 | Product | RETURN IDLER OF SIZE : 193.7 DIA X 1320M
40 | Product | CS ERW PIPE OF SIZE 914 MM THICKNESS 10 MM WITH BEVELLVED ENDS
41 | Product | 245 KV, SF6 GAS FILLED CURRENT TRANSFORMER.
42 | Product | lime stone powder
43 | Product | TROUGHING IDLER GARLANDS CONSISTING OF 2
44 | Product | 11KV,3100 KW Circulating Water pump Motor.
45 | Product | COVER COMPOUND/CONVEYOR BELT SPLICING/REPAIR SHEETS
46 | Product | Walkie Talkie set as per the Technical Factors, Make:Motorola
47 | Product | INTERMEDIATE GEARBOX SHELL FOR 1500KW BWGBOX OF 1400L BWE.
48 | Product | TRACK PLATE 2800MM FOR O&K & 700LT.EXPAN
49 | Product | BEATER PLATES PART NO. I & II
50 | Product | MS SPIRL WELD PIPE 914mm OD x 11.5mm T WITH PAINTING ON BOTH SIDE
51 | Product | GEAR RIM SET AS PER DRG NO SME:1805 FOR 700 LTR BWEs.
52 | Product | Coriolis Type Mass Flow Meter for 3 inch HFO Main Line
53 | Product | Track plate (Assembled as a bunch) for 2400mm Tripper car.
54 | Product | FR EP BELT/ 1800MM WIDTH/ 1600/625 KG/CM
55 | Product | IMPACT IDLER OF SIZE 193.7 DIA X 450MM L FOR 2000 CONVEYOR
56 | Product | Back pass Hanger tube Assembly Varient-2
57 | Product | Battery Bank 1395 AH, 220 VDC
58 | Product | BEML MAKE BD155A MODEL BULLDOZER UNDER
59 | Product | LIGHT DIESEL OIL
60 | Product | RAYON GRADE CAUSTIC SODA LYE
61 | Product | Steel cord conveyor belt 1200 mm ST 1400
62 | Product | STEEL CORD SPLICING MATERIAL FOR 2400MM
63 | Product | TC INSERTS TYPE 20/94 FOR 1400L TEETH AS
64 | Product | DISCHARGE BOOM BOTTOM BALL RACE AS PER DRG. SME 331/04.
65 | Product | STEEL CORD SPLING MATERIAL SETS 1800MM / 2000MM WIDE STEEL CORD BELT
66 | Product | BFP-cartridge complete assembly BHEL make Pump Type:FK8D30
67 | Product | Low cement Refractory castables LCRC - 80HS
68 | Product | NAPTHANIC BASED EHV QUALITY TRANSFORMER OIL
69 | Product | TOOTHED GEAR RIM SEGMENT FOR MAN SPR 1,2,3&4.
70 | Product | 245 KV, SF6 GAS FILLED CURRENT TRANSFORMER.
71 | Product | GEAR RING SEGMENT FOR BWE 1355/56/57 MAIN SLEWING
72 | Product | SPARES FOR BOILER FEED PUMP TYPE FK 6D W
73 | Product | TROUGHING IDLER GARLAND FOR 2000MM CONVE
74 | Product | FIRE RETARDANT EP BELT OF WIDTH: 1800 MM, STRENGTH: 1000/4 PLY
75 | Product | UNDER CARRIAGE SET FOR BEML BP100 PIPELAYER
76 | Product | SUKB 30 OR EQUIVALENT
77 | Product | Radar Level Transmitter for Acid/Alkali tanks
78 | Product | CENTRE TROUGHING IDLER OF SIZE 159MM DIA
79 | Product | SHAFT 50/62x1104 for 2400 Conveyor STI
80 | Product | Coriolis Type Mass Flow Meter for 1 inch HFO Return Line
81 | Product | BARRELS FOR 2000mm CONVEYOR RETURN IDLER
82 | Product | ORDINARY PORTLAND CEMENT 43 GRADE
83 | Product | 3.3 kv 650 kw motor control centre
84 | Product | TC INSERTS TYPE 153/77 FOR 1400L TEETH A
85 | Product | 1500 mm wide Belt EP 1250/270 4 ply Grade FR
86 | Product | Pasteurised with standardised milk
87 | Product | Electronification of Conveyor- Remote monitoring of datas.
88 | Product | STEEL DOME BRIDGE - SIZE: 2.5 Mtrs. WIDTH X 7 Mtrs. SPAN.
89 | Product | Zirconia oxygen analyser for O2 measurement in flue gas.
90 | Product | Back pass Hanger tube Assembly Varient-1
91 | Product | BOTTOM ROLLER 550 DIA. AS PER DRG.NO. SME-0577
92 | Product | MAX OPERATOR WORKSTATION (OWS) AS PER SPECIFICATIONS
93 | Product | SIDE IMPACT IDLER OF SIZE: 219.1 DIA X
94 | Product | Bottom Roller dia 550mm as per drawing SME-0452
95 | Product | CAM CAMEL BACK 300 MM WIDE FOR TRACK DRIVE.
96 | Product | HLP-68 ANTIWEAR HYDRAULIC OIL (EXTRA HEAVY DUTY TYPE).
97 | Product | TRACK LINK PIN 95 DIA X 430 mm LONG
98 | Product | Buffer Door Belt
99 | Product | HDPE PIPE OF SIZE 355MM OD WITH BOTH END MS FLANGED
100 | Product | FORGED FISH PLATE FOR UIC-60 RAILS.
101 | Product | Track plate (Assembled as a bunch) for 2000mm Tripper car.
102 | Product | CTI DIA 219.1X 670 M-II EXPN.2400MM CON
103 | Product | MS SPIRAL WELD PIPE OD 914 WT X 11.5MM
104 | Product | Sodium Chloride
105 | Product | Bitumen Grade 60/70
106 | Product | ISO VG 320 OIL AS PER IS :8406/1993
107 | Product | MODIFIED CTI 2000MM CON. 193.7DIAX530mmLG.6310 BRG.
108 | Product | Under Carriage Set for TH Backhoes
109 | Product | UNDER CARRIAGE SET FOR BE220G BEML BACKHOE
110 | Product | Terrestrial Laser Scanner(TLS)
111 | Product | CARTRIDGE ASSLY WITH MECH SEAL FOR EBF PUMP CHTC 3/11
112 | Product | 198KV 10 KA RATED LIGHTNING ARRESTORS.
113 | Product | Servo Pride XL 15w40 API-CH4 or its equivalent.
114 | Product | In Line Magnetic Separator.
115 | Product | 4000 GPM 150 MTR HEAD PUMP
116 | Product | 55KW WORM PLANETARY GEARBOX FOR 1420-22
117 | Product | 60T Electronic weighbridge platform size 18x3 mts
118 | Product | SUKB - 10W or equivalent
119 | Product | 1000 gpm 150 m head submersible pump set as per specification enclosed
120 | Product | INSULATING REFRACTORY CASTABLE - IRC -LW15Li (GUNNING)
121 | Product | RAYON GRADE CAUSTIC SODA LYE
122 | Product | LINE MATCHING UNIT
123 | Product | R.P.SLEW RIM, ROTHE ERDE MODEL :190-36-1825-000-41-0532
124 | Product | 75 kw worm planetary gearbox
125 | Product | ACETYLENE GAS CONFORMING TO IS/308/1988
126 | Product | PLANETARY STAGE GEARS COMPLETE SET FOR 900 KW BWGB.
127 | Product | TC INSERTS TYPE: 2.2062.60 FOR 700L & 14
128 | Product | Track gearbox 45Kw-Bwe 146,147, Spr 148,149
129 | Product | SLEEPERS FOR 2000MM CONVEYOR FRAMES
130 | Product | HONDA CITY CAR
131 | Product | Retrofit of Numerical Distance Protection Relays for EHV feeders
132 | Product | RG10 BUSH 215/125DIA X 140 LONG FORBOTTOM ROLLER SME0305A
133 | Product | SITAGLIPTIN PHOSPATE 50MG
134 | Product | 300 AH PLANTE TYPE LEAD ACID STORAGE BATTERY BANK (180CELLS)
135 | Product | PROPEL DEVICE WITH TRAVEL MOTOR ASSY
136 | Product | LPB/P-CONTROL VALVE- PLUG ASSY.
137 | Product | TROUGHING IDLER GARLAND MODIFIED CTI FOR 2000 CON.
138 | Product | 360 KV 20 KA RATED LIGHTNING ARRESTORS.
139 | Product | ID FAN IMPELLER BLADES WITH COUNTERSUNK BOLTS.
140 | Product | C/D TYPE (RIPPER TEETH) TEETH FOR 1400 LITRE CAPACITY BWE.
141 | Product | SPHERICAL ROLLER BEARING 23280 BKMB C3
142 | Product | SHAFT,M/C:CAM WHEEL/BWE 1420-22MU,MAN SPR I&II,BWE MAN-I&II
143 | Product | 900 KW BWGB SHELL COMPLETE WITH LUBRICATION LINES FOR 700L BWES.
144 | Product | R1 TYPE (LEFT FLAT NOSE RIPPER) TEETH FOR 1400 LITRE CAPACITY BWE
145 | Product | SILVER BRAZING FOIL 0.25MM THICK X 75.0MM WIDTH X 300 MM LONG
146 | Product | TRACK LINK 615 FOR 1144/98/55/56/213/157
147 | Product | 1400 LTR BUCKET FOR BWE 1440/47/48